Introduction to Three-Phase Pad-Mounted Transformers

What is a Three-Phase Pad-Mounted Transformer?

A three-phase pad-mounted transformer is a type of electrical transformer designed for outdoor installation at ground level, typically mounted on a concrete pad. These transformers are commonly used in distribution networks to step down high-voltage primary power to a lower, more usable voltage for commercial, industrial, and residential applications.

Key Features and Benefits

- Compact and Secure Design: Pad-mounted transformers have a compact design and are enclosed in a tamper-resistant cabinet, providing safety and reliability in public areas.

- Outdoor Installation: These transformers are designed to withstand harsh outdoor conditions, including exposure to sunlight, rain, and temperature variations.

- Low Noise Operation: Pad-mounted transformers are designed to operate quietly, making them suitable for installation in residential and urban areas.

Components of a Three-Phase Pad-Mounted Transformer

- Core and Coil Assembly

  - Core: Made of high-grade silicon steel to minimize core losses and enhance efficiency.

  - Coils: Typically made of copper or aluminum, these are wound around the core to create the primary and secondary windings.

- Tank and Cabinet

  - Tank: The transformer core and coils are housed in a steel tank filled with transformer oil for cooling and insulation.

  - Cabinet: The entire assembly is enclosed in a tamper-proof, weather-resistant cabinet.

- Cooling System

  - Oil Cooling: The transformer oil circulates to dissipate heat generated during operation.

  - Radiators: Attached to the tank to increase the surface area for better heat dissipation.

- Protection Devices

  - Fuses and Circuit Breakers: Protect the transformer from overcurrent and short circuits.

  - Pressure Relief Device: Releases excessive pressure buildup inside the tank to prevent damage.

- High Voltage and Low Voltage Bushings

  - High Voltage Bushings: Connect the transformer to the high-voltage primary supply.

  - Low Voltage Bushings: Provide connection points for the low-voltage secondary output.

Applications of Three-Phase Pad-Mounted Transformers

- Commercial Buildings: Providing power to office buildings, shopping centers, and other commercial facilities.

- Industrial Facilities: Supplying power to factories, warehouses, and other industrial operations.

- Residential Areas: Distributing electricity to residential neighborhoods and housing developments.

- Renewable Energy Projects: Integrating power from solar panels and wind turbines into the grid.

Advantages of Using Three-Phase Pad-Mounted Transformers

- Ease of Installation: Quick and straightforward installation on a concrete pad without the need for additional structures.

- Safety: The tamper-resistant enclosure and secure design ensure safe operation in public and private areas.

- Reliability: Robust construction and protective devices contribute to long-term, reliable performance.

- Low Maintenance: Designed for minimal maintenance with features like sealed tanks and durable components.

Conclusion

Three-phase pad-mounted transformers are essential components in modern electrical distribution networks, offering a reliable and efficient solution for stepping down high voltage to usable levels in various applications. Their compact design, secure enclosure, and robust construction make them suitable for outdoor installations in commercial, industrial, and residential settings. With their ease of installation and low maintenance requirements, these transformers provide a cost-effective and dependable power distribution solution.

Detailed Structure

Design

HV Bushing Config.:

- Dead front or live front

  - Loop feed or radial feed

Fluid Options:

- Type II Mineral Oil

- Envirotemp™ FR3™

Standard Gauge/Accessory Package:

- Pressure relief valve

- Pressure vacuum gauge

- Liquid temp gauge

- Liquid level gauge

- Drain & sample valve

- Anodised aluminum nameplate

- Adjustment taps

Switch Options:

- 2 Position LBOR Switch

- 4 Position LBOR Switch (V-blade or T-blade)

- (3) 2 Position LBOR Switches

Fusing Options:

- Bayonets w/ isolation links

- Bayonets w/ ELSP

Construction:

- Burr-free, grain-oriented, silicon steel, 5-legged core

- Rectangular wound copper or aluminum windings

- Carbon reinforced or stainless steel tank

- Steel divider between HV and LV cabinets

- (4) Lifting lugs

- Penta-head captive bolt

Optional Design Features & Accessories:

- Gauges w/ Contacts

- External drain and sample valve

- Electro-static Shielding

- K-Factor Design K4, K13, K20

- Step-up Design

- Surge-Arresters

| Available Ratings |  |
| --- | --- |
| Table 1.Typical Transformer Ratings |  |
| Sizes (kVA) Frequency Cooling Class Temperature Rise | 45,75,112.5,150,225,300,500,750,1000, 1500,2000,2500,3000,3750,5000 |
|  | 60 Hz or 50 Hz |
|  | ONAN or KNAN |
|  | 55C,65℃,55/65℃,75℃ |
| Voltages | Available in△or Yconfiguration |
| 600V | 208 |
|  | 240 |
|  | 416 |
|  | 480 |
|  | 600 |
| 2.5kv-5kv | 2400 |
|  | 4160 |
|  | 4800 |
| 15kV | 12000 |
|  | 12470 |
|  | 13200 |
|  | 13800 |
|  | 14400 |
| 25kV | 20780 |
|  | 21600 |
|  | 22900 |
|  | 24940 |
|  | 26400 |
| 35kV | 33000 |
|  | 34500 |